**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**** 

**Specifications:**

Material: Grade A Vitreous China

Color: White

Rough In: 12”

Water Use: 4.8LPF / 1.8LPF

Flush System: Cyclone

Water Surface: 8” x 6”

Finish: Glossy

Conception: One Piece Skirted

Bowl Height: 16.5”

Bowl Type: Elongated

Trap Way: 2 1/8”

Gross Weight: 103lbs

